## QUESTIONNAIRE
QUESTIONNAIRE TO REQUEST FOR TECHNICAL AND COMMERCIAL PROPOSAL FOR A PUMPING STATION
Contacts
Company name:
Principle address of facility
Contact person (full name, position):
Contact person's phone number:
Contact person's e-mail:
General information
Pumping station function / process
Performance requirements
The maximum permissible overall dimensions of the block module, LxWxH, m:
Arrangement type (frame type, made of sandwich panels; frame type, made of sandwich panels based on a trailer, on a frame; set of equipment, etc.)
Design type (fixed, skid-mounted, shassis-mounted)
Maximum ambient temperature:
Minimum ambient temperature:
Installation area (territorial location):
Seismicity of the installation area:
Required degree of fire resistance (I, II, III, IV, V):
Category of the station power supply reliability
Maximum permissible electric power of the station, kW:
Required capacity of the station, m3/hour
Required pressure (dif. pressure), wcm.
Pressure on the suction line, bar
Required pressure on the pressure line, bar
Type of fire-fighting system (powder, aerosol, gas, other)
Painting (manufacturer's standard color, customer's corporate color)
Feed pipeline: inlet connections of a pumping station (number, diameter):
Discharge pipes of a pumping station (number, diameter):
Availability of an operator room (yes/no):
Station operation mode:
Requirements to pumping equipment:
The need for frequency control (yes/no):
Frequency, Hz
Soft start device (yes/no)
Supply voltage, number of phases, V
Title of the pumped liquid:
Content of abrasive impurities, %
Size of impurities, mm
Viscosity at temperature, cSt (Pas)
Density at temperature, kg/m3
Configuration requirements:
The need to complete the station with filters (yes/no):
Installation of safety valves (yes/no):
Check valves (manual, motorized)
The need for lifting mechanisms (not required, hydraulic trolley, monorail with hoist, other):
Drainage removal (DN, mm):
Station operation (local, remote, automatic)
Interface and communication protocol for information output:
Controller manufacturer (in case of special requirements):
Automatic transfer switch panel (yes/no)
Requirement for a fire alarm system (yes/no):
Requirement for a flow meter (yes/no):
Requirement for a power consumption meter (yes/no):
Pressure sensors (yes/no):
The algorithm of the station operation (in case of an automatic control system):
Additional requirements:
Completed questionnaire may be emailed to: boltachev@mks-group.ru.